CHAPTER 5:  DISTILLATION USING MACROSCALE APPARATUS

Simple Distillation

- Add 60 mL of 20% ethanol-water mixture in a 100-mL round-bottomed flask from the macroscale kit.

- Add boiling chips.

- Assemble apparatus for simple distillation as shown in Fig 5.10. Ensure that all the connections are tight. The bulb of the thermometer should be below the opening into the side arm of the distillation head. Remember to use Keck clips.

- Heat the flask strongly on the thermo well (no sand) until boiling begins, then adjust the heat until the distillate drops at a regular rate of one drop per second.

- Record both the temperature and volume of distillate at regular intervals. Remember to record the temperature at the first drop of distillate and then after every milliliter that you collect.

- After 50 mL of distillate is collected, discontinue distillation and save your distillate for fractional distillation.

- Working in the hood, place 3 drops of the distillate using a Pasteur pipette on a Pyrex watch glass and try to ignite it.

Fractional Distillation

- Place the 50 mL of distillate from simple distillation experiment back into the 100-mL round-bottomed flask once it has cooled.

- Add boiling chips.

- Assemble the apparatus for fractional distillation as shown in Fig. 5.11. Use stainless steel spong that will be provided to pack the fractionating column.

- Turn up the heat to the electric flask gradually until the mixture just begins to boil. Turn off the power and heat slowly as you watch the ring of condensate rise gradually through the column. This rise should be gradual so that the column can acquire a uniform temperature gradient. Make sure the ring has stopped rising and then increase the heat gradually until distillation starts.

- Insulate the column with a towel to prevent flooding of the column as this slows down the distillation.

- Record temperature for every milliliter of distillate collected and take more frequent readings as the temperature begins to rise abruptly.

- Empty the contents of the graduated cylinder into a 25 mL Erlenmeyer flask once it fills.

- Stop the distillation once the second constant temperature is reached.

- Repeat the ignition test and note any difference from before.

Everything is exactly as it is in the book except for the italicized parts.

Note:

- The ethanol-water mixture volume was scaled down from 200 mL to 60 mL because of the lack of a bigger thermo well that can accommodate a 500 mL flask.

- The simple distillation experiment takes longer than the fractional distillation because 50 mL of distillate has to be collected to later be used in the fractional distillation.